EMIGRATION IMPROVEMENT DISTRICT

BOARD OF TRUSTEES REGULAR MEETING

JUNE 11, 2026

EMIGRATION CANYON FIRE STATION

5025 EMIGRATION CANYON ROAD

SALT LAKE CITY, UTAH

AND ZOOM

Regular Meeting

Board Members in Attendance:  David Bradford – Chair, Mark Stevens – Co-Chair, Brent Tippets—Co-Chair

Ex Officio: Eric Hawkes—District Manager, Don Barnett—Barnett Intermountain Consulting, Jeremy Cook—Legal Counsel

David Bradford called the meeting to order at 7:02 p.m.

1.	Consent Approval - Minutes for May 14, 2026

MOTION: Brent Tippets made a motion to approve the minutes of the May 14, 2026, Board Meeting as written.  Mark Stevens seconded the motion.

VOTE: Unanimous in favor of the motion.

2.	Financial Considerations and Report

- Mr. Hawkes reviewed the monthly financial report.

There were no issues from the Board members.

- Impact Fees for Series 2003 and Series 2007 Bond Schedule

The board reviewed the status of the district’s outstanding bonds and related impact fee revenue. Mr. Hawkes explained that customer impact fee schedules do not always align with bond repayment timelines, creating future revenue gaps. The 2003 bond impact fees, affecting approximately 304 accounts, generate about $62,280 annually but are expected to end within the next few years. The 2007 bond impact fees, affecting approximately 136 accounts, generate about $40,800 annually and will also expire before the related bond is fully retired. The 2013 financing structure is different, relying on an ongoing hydrant fee applied to approximately 515 accounts, which is expected to provide more consistent long-term revenue.

The board discussed options for replacing the future loss of impact fee revenue. Staff indicated that water rate increases would likely be the most practical solution.  The board agreed that planning should begin early and that the issue should be revisited during the winter budgeting process to allow for gradual adjustments rather than sudden increases.

3.	Water System Report—System Consumption Report—Don Barnett

The board reviewed the monthly water system operations report. Mr. Barnett reported that warmer weather increased overall water demand; however, usage per connection remained below the historical median. Total production has increased primarily due to the addition of new connections rather than higher individual household usage.

Two new connections were added during the reporting period: one property previously served by a spring source and another residence that converted from a private well after experiencing problems. The district now serves approximately 332 active connections, with additional homes expected to connect as construction continues.  Staff reported that 100% of the district’s water supply came from Upper Freeze Creek during the month. This was an intentional operational decision due to declining well levels, which are currently at levels typically seen later in the fall. By utilizing Upper Freeze Creek, the district is preserving well capacity during the ongoing dry conditions.

4.	Maintenance and Repairs

A.  918 Pinecrest Canyon—Meter Location and New Connection

The board reviewed a maintenance issue at 918 Pinecrest Canyon, where a shallow well has stopped producing water despite installation of a new pump. Staff noted this is the third spring or shallow well failure this season, likely due to ongoing dry conditions. The homeowner has requested connection to the district system, but the existing standby meter could not be located despite attempts with detection equipment. If it cannot be found, a new service line will need to be installed.

B.  Brigham Fork Well Repair/Alternative Water Source Options

The board then discussed the ongoing Brigham Fork well project. Mr. Barnett reported continued efforts to work with well driller Alan Lang regarding possible rehabilitation of the existing well. He provided Lang with extensive documentation, including drilling logs, photographs, and video footage of the well conditions. The board also communicated its willingness to remove nearby structures if necessary to provide access for repairs. Mr. Lang has not yet provided a recommendation, and staff will continue efforts to schedule a discussion with him.  The board discussed the decision between repairing the existing well or pursuing a replacement well, weighing repair costs, likelihood of success, water quality concerns, and the value of existing infrastructure.  Members also discussed concerns with iron bacteria and long-term water quality, while recognizing that the existing well has historically provided strong production and already has supporting infrastructure.  The board emphasized the importance of restoring redundancy to the district’s water supply.

5.	Any Items for Discussion from Board and/or from Visiting Public, Dismiss Public

There were no questions or comments.

6.	Closed Session – Pending Litigation or Property Acquisition

MOTION:  Board Chairman David Bradford made a motion to convene in closed session to discuss pending litigation or property acquisition.  Brent Tippets seconded the motion.

VOTE:  Unanimous in favor of the motion.

The Board of Trustees met in closed session from 7:28—7:55 p.m.  Those present included David Bradford, Brent Tippets, Mark Stevens, Eric Hawkes, Don Barnett, Jeremy Cook.

MOTION:  Board Member Brent Tippets made a motion to adjourn the meeting.  David Bradford seconded the motion.

VOTE:  Unanimous in favor of the motion.

The regular meeting of the Emigration Improvement District adjourned at 7:55 p.m.

______________________________________________________

Minutes Approved